## Sheet1
"ATTACHMENT 1"
PR NO. S3-SIA21-028
SUPPLY AND DELIVERY OF CURRENT AND POTENTIAL TRANSFORMERS FOR METERING OF SIASI DPP
MODEL :
ITEM | DESCRIPTION | PARTS NO. | QTY | UNIT | UNIT PRICE/PHP | TOTAL PRICE
1 | CURRENT TRANSFORMER, POLE/OUTDOOR TYPE, 138 KV METERING, DUAL RATIO, 15 KV, 60 HZ, 2000/1500:5A |  | 1 | PC | 120000 | 120000
2 | POTENTIAL TRANSFORMER, POLE/OUTDOOR TYPE, 15 KVA METERING. 110 BIL, 8400/120 V, 0.3 ACCURACY, 60 HZ, RATIO 70:1, DOUBLE BUSHING |  | 1 | PC | 120000 | 120000
GRAND TOTAL | [5 empty] | 240000