## 500KW MAN CXZ
ATTACHMENT 1
Project / Item Title |  | SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS
MODEL AND SERIAL NO.
PR. NO. : S3-WMO24-001 | S3-MMT24-002
ITEM | DESCRIPTION | PART NO. | QTY |  | UNIT PRICE | TOTAL PRICE
| SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS |  | 1 | lot
1 | Oil, Transformer, insulating, dielectric strength of 70kV or |  | 7 | DRUMS | 59000 | 413000
better, non-PCB content, IEC 296, 200 Liters/drum, supplier
to submit technical data sheet/test results and other
pertinent documents to attest to its quality.
2 | Cork gasket, Rubberized, 1/4" x 1 meter width x 2 meter long |  | 4 | SHEET | 38000 | 152000
[5 empty] | TOTAL | 565000